## insul_no_cool
time_day | [49 empty] | d.1 | d.1 | d.1 | d.2 | d.2 | d.2 |  |  |  | d.1 | d.1 | d.1 | d.2 | d.2 | d.2 | d.1 | d.1 | d.1 | d.2 | d.2 | d.2 |  | d.1 | d.1 | d.1 | d.2 | d.2 | d.2
| time_hour | [48 empty] | h.1 | h.2 | h.3 | h.1 | h.2 | h.3 |  |  |  | h.1 | h.2 | h.3 | h.1 | h.2 | h.3 | h.1 | h.2 | h.3 | h.1 | h.2 | h.3 |  | h.1 | h.2 | h.3 | h.1 | h.2 | h.3
needs
|  |  | flows |  |  |  |  | f.1 | f.2 | f.3 | f.4 | f.6 | f.7 | f.8 | f.9 | f.10 | f.11 | f.12 | f.13 | f.14 | f.15 | [16 empty] | non-storage technologies | [9 empty] | Storage technology
|  |  |  | techs | [33 empty] | t.1 | t.2 | t.3 | t.4 | t.6 | t.7 | t.8 | t.9 | t.10 | t.11 | t.12 | t.13
[5 empty] | activ | [17 empty] | a.1 | a.2 | a.3 | a.4 | a.5 | a.6 | a.7 | a.8 | a.10 | a.11 | a.12 | a.13 | a.14 | a.15
[6 empty] | name |  | EE PV | EE import National Grid | EE export National Grid | EE storage charge | HW HP | Cooling HP | HW Gas boiler | HW storage | Radiator heating | Floor heating | Cooling AC | Induction cook | Gas cook | Natural Gas supply |  | PV | National Grid import | National Grid export | Battery charge | HP heating | HP cooling | Gas boiler | HW storage charge | Radiators | Floor heaters | Air conditioning unit | Induction stove | Gas stove | Natural Gas supply grid |  | PV | National Grid | HP | Gas boiler | Radiators | Floor heaters | Air conditioning unit | Induction stove | Gas stove | Natural Gas supply grid | Battery | HW storage
[7 empty] | unit | kWh | kWh | kWh | kWh | kWh | kWh | kWh | kWh | kWh | kWh | kWh | kWh | kWh | kWh |  | kWh | kWh | kWh | kWh | kWh | kWh | kWh | kWh | kWh | kWh | kWh | kWh | kWh | kWh |  | kWh | kWh | kWh | kWh | kWh | kWh | kWh | kWh | kWh | kWh
[8 empty] | I_nf | [41 empty] | Y | [5 empty] | Thermal Insulation | TI |  | Q_agg=Q*Iff' | [5 empty] | Q_agg-uX'-Y-curtail = 0 | [6 empty] | Curtailment | bar: a.1
|  | n.1 |  |  |  | EE | kWh | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0.0001 | 0.5 | 0.5 | 0 | 0 | 0 | 0 | 0.6 | 1.2 | 0 | 0 | [13 empty] | 10 | 8 | 10 | 10 | 8 | 10 | 0 | 1 |  | 10 | 7.9999 | 10 | 10.6 | 11 | 10.6 | 3e-08 | 0 | -3.3e-08 | -3.3e-08 | -3.4e-08 | -3.3e-08 |  | 0 | 0 | 0 | 0 | 0 | 0
|  | n.2 |  |  |  | Hot water | kWh | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.001 | 1.2 | 1.1 | 0 | 0 | 0 | 0 | [13 empty] | 1 | 1 | 2 | 1 | 1 | 2 | 0 | 1 |  | 7.0004 | 4.5992 | 8.0008 | 0.9992 | 0.99989 | 2.0008 | 8.8818e-16 | 8.8818e-16 | 0 | -1.1102e-16 | -4.5e-08 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0
|  | n.3 |  |  |  | Cold | kWh | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [13 empty] | 0 | 0 | 0 | 1 | 5 | 1 | 0.05 | 1 |  | 0 | 0 | 0 | 1 | 5 | 1 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0
|  | n.4 |  |  |  | Heat | kWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [13 empty] | 5 | 3 | 5 | 0 | 0 | 0 | -0.1 | 1 |  | 5 | 3 | 5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0
|  | n.5 |  |  |  | Cooking | kWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [13 empty] | 0.5 | 1 | 2 | 0.5 | 1 | 2 | 0 | 1 |  | 0.5 | 1 | 2 | 0.5 | 1 | 2 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0
|  | n.6 |  |  |  | Natural Gas | kWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 |  | 0 | 0 | 0 | 0 | 0 | 0 | 1.1111 | 0 | 0 | 0 | 0 | 0 | 1.5 | 0 | [13 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 |  | 8.0782 | 7.4991 | 11.0009 | 2.7491 | 2.7329 | 4.3342 | 2.2222e-08 | -1.1111e-08 | 1.1111e-07 | -1.1111e-08 | 8.8889e-08 | -2.2222e-08 |  | 0 | 0 | 0 | 0 | 0 | 0
[8 empty] | d | [29 empty] | I_at | [11 empty] | EE constraint | HW constraint |  |  |  |  | Install TI | [8 empty] | X'-dQ' = 0 | [6 empty] | (Xmax-X_agg_no_stor) ' > 0
[5 empty] | a.1 | PV | kWh | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [16 empty] | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 |  |  |  |  | 0 |  |  | opex | capex | min(cost) |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 5.5511e-17 | 1.1102e-16 | 5.5511e-17 | 1.1102e-16 | -1.1102e-16 | 1.1102e-16
[5 empty] | a.2 | National Grid import | kWh | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [16 empty] | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  |  | TI inv cost |  |  | 16.5684 | 7816.8293 | 7833.3977 |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.33337 | 1.7668 | 0 | 0 | 0 | 0
[5 empty] | a.3 | National Grid export | kWh | 0 | 0 | -1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [16 empty] | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1 | 0 |  |  |  |  | 10000 | [8 empty] | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0
[5 empty] | a.4 | Battery charge | kWh | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [16 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | [13 empty] | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.60539 | 1.8016 | 0 | 5.4016 | 6.0912 | 6
[5 empty] | a.5 | HP heating | kWh | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [16 empty] | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | [13 empty] | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 2 | 0 | 5 | 5 | 5
[5 empty] | a.6 | HP cooling | kWh | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [16 empty] | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [13 empty] | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0
[5 empty] | a.7 | Gas boiler | kWh | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [16 empty] | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | [13 empty] | 0 | 0 | 0 | 0 | 0 | 0 |  | 5 | 5 | 5 | 4 | 0 | 4
[5 empty] | a.8 | HW storage charge | kWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | [16 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | [13 empty] | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0
[5 empty] | a.10 | Radiators | kWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | [16 empty] | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [13 empty] | 0 | 0 | 0 | 0 | 0 | 0 |  | 1.5 | 1 | 0 | 1.5 | 1 | 0
[5 empty] | a.11 | Floor heaters | kWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | [16 empty] | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [13 empty] | 0 | 0 | 0 | 0 | 0 | 0 |  | 9990.9218 | 9991.5009 | 9987.9991 | 9996.2509 | 9996.2671 | 9994.6658
[5 empty] | a.12 | Air conditioning unit | kWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | [16 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  |  | X_storage | [8 empty] | 0 | 0 | 0 | 0 | 0 | 0
[5 empty] | a.13 | Induction stove | kWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | [16 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  |  | 0.2667 | 0.405 | [7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[5 empty] | a.14 | Gas stove | kWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | [16 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 |  |  |  |  | -0.6 | -0.8 | [7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[5 empty] | a.15 | Natural Gas supply grid | kWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | [16 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 |  |  |  |  | -0.0667 | 0.8 | [7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[56 empty] | 0.23333 | -0.8
[56 empty] | 0.33334 | -0.10976 | [14 empty] | Activity contraints>0
[6 empty] | Operative costs | €/kWh | [14 empty] | c_o | 0 | 0.1 | -0.05 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.3 | [19 empty] | 0.23333 | 0.8 | [13 empty] | EE export and storage | 0.5667 | 0 | 0.2333 | 0.83333 | 1.2333 | 0.83333
[6 empty] | Capital costs | €/kW | [29 empty] | c_c | 1000 | 100 | 2000 | 200 | 500 | 1000 | 500 | 1000 | 500 | 0 | 2000 | 200 | [21 empty] | HW storage | 7.0004 | 4.5992 | 8.0008 | 0.9992 | 0.99989 | 2.0008
[6 empty] | initial capacity | kW | [29 empty] | C_i | 3 | 6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 9999 | 1 | 1
[38 empty] | Capacity factor | [9 empty] | SOC |  | Thh | [5 empty] | Start cooling | HW | Cooling factor | [13 empty] | max-SOC>0
d.1 | h.1 | [36 empty] | 0.1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0.2333 | 0.095 | 1 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0.9 | [13 empty] | 0.6667 | 0.0667 | -3e-09 | 0.23333 | 0.56667 | 0.8
d.1 | h.2 | [36 empty] | 0.2 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0.8333 | 0.845 | 1 | 1 | 0 | 0 | 0 | 0 | 1 | 0.9 | [14 empty] | 0.895 | 0.145 | 0.99 | 0.2305 | 0.15719 | 0.99
d.1 | h.3 | [36 empty] | 0.1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0.9 | 0 | 1 | 1 | 1 | 0 | 0 | 0 | 1 | 0.81 | [14 empty] | SOC-min>0
d.2 | h.1 | [36 empty] | 0.2 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0.66667 | 0.7595 | 1 | 1 | 1 | 1 | 0 | 0 | 1 | 0.729 | [14 empty] | 0.1333 | 0.7333 | 0.8 | 0.56667 | 0.23333 | 3e-09
d.2 | h.2 | [36 empty] | 0.3 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0.33333 | 0.83281 | 1 | 1 | 1 | 1 | 1 | 0 | 1 | 0.6561 | [14 empty] | 0.095 | 0.845 | 0 | 0.7595 | 0.83281 | 0
d.2 | h.3 | [36 empty] | 0.2 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0.1 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0.59049 | [14 empty] | MAX_dis-X_ch>0
[8 empty] | Q | [29 empty] | soc min | HW | soc max | HW | soc start | HW | max dis | HW | min ch | HW |  |  | Thh cooling | [5 empty] | CHECK FOR ERRORS | [15 empty] | 0.3333 | 1.2 | 0.6667 | 0.36667 | 0.26666 | 0.36667 | bar: a.1
d.1 | h.1 |  |  |  |  | Production |  | 0.3 | 9.4333 | 0 | 0.2667 | 0 | 0 | 6.5954 | 0.405 | 5 | 0 | 0 | 0 | 0.5 | 8.0782 |  | 0.3 | 9.4333 | 0 | 0.2667 | 0 | 0 | 6.5954 | 0.405 | 5 | 0 | 0 | 0 | 0.5 | 8.0782 |  | 0.1 | 0 | 0.9 | 0.99 | 0.5 | 0.5 | 0.6 | 0.8 | -0.6 | -0.8 |  |  | 1 | 0 | 0 | 0 | 0 | 0 | SOC_start_cool |  | SOC_second_part | [13 empty] | 0.395 | 1.6 | 0 | 1.6 | 0.90976 | 0
d.1 | h.2 | [6 empty] | 0.6 | 7.9999 | 0 | -0.6 | 0 | 0 | 5.3992 | -0.8 | 3 | 0 | 0 | 0 | 1 | 7.4991 |  | 0.6 | 7.9999 | 0 | -0.6 | 0 | 0 | 5.3992 | -0.8 | 3 | 0 | 0 | 0 | 1 | 7.4991 |  | 0.1 | 0 | 0.9 | 0.99 | 0.5 | 0.5 | 0.6 | 0.8 | -0.6 | -0.8 |  |  | 1 | 1 | 0 | 0 | 0 | 0 | 0.5 | 0.5 | -0.2667 | -0.405 | [12 empty] | X_ch-MIN_ch>0
d.1 | h.3 | [6 empty] | 0.3 | 9.7667 | 0 | -0.0667 | 0 | 0 | 7.2008 | 0.8 | 5 | 0 | 0 | 0 | 2 | 11.0009 |  | 0.3 | 9.7667 | 0 | -0.0667 | 0 | 0 | 7.2008 | 0.8 | 5 | 0 | 0 | 0 | 2 | 11.0009 |  | 0.1 | 0 | 0.9 | 0.99 | 0.5 | 0.5 | 0.6 | 0.8 | -0.6 | -0.8 |  |  | 1 | 1 | 1 | 0 | 0 | 0 | 0.5 | 0.45 | 0.3333 | 0.395 | [12 empty] | 0.8667 | 0 | 0.5333 | 0.83333 | 0.93334 | 0.83333
d.2 | h.1 | [6 empty] | 0.6 | 9.7667 | 0 | 0.23333 | 0 | 0 | 1.7992 | -0.8 | 0 | 0 | 1 | 0 | 0.5 | 2.7491 |  | 0.6 | 9.7667 | 0 | 0.23333 | 0 | 0 | 1.7992 | -0.8 | 0 | 0 | 1 | 0 | 0.5 | 2.7491 |  | 0.1 | 0 | 0.9 | 0.99 | 0.5 | 0.5 | 0.6 | 0.8 | -0.6 | -0.8 |  |  | 1 | 1 | 1 | 1 | 0 | 0 | 0.5 | 0.405 | 0.4 | -0.405 | [12 empty] | 1.205 | 0 | 1.6 | 0 | 0.69024 | 1.6
d.2 | h.2 | [6 empty] | 0.9 | 9.7667 | 0 | 0.33334 | 0 | 0 | 1.1096 | -0.10976 | 0 | 0 | 5 | 0 | 1 | 2.7329 |  | 0.9 | 9.7667 | 0 | 0.33334 | 0 | 0 | 1.1096 | -0.10976 | 0 | 0 | 5 | 0 | 1 | 2.7329 |  | 0.1 | 0 | 0.9 | 0.99 | 0.5 | 0.5 | 0.6 | 0.8 | -0.6 | -0.8 |  |  | 1 | 1 | 1 | 1 | 1 | 0 | 0.5 | 0.3645 | 0.16667 | 0.395
d.2 | h.3 | [6 empty] | 0.6 | 9.7667 | 0 | 0.23333 | 0 | 0 | 1.2008 | 0.8 | 0 | 0 | 1 | 0 | 2 | 4.3342 |  | 0.6 | 9.7667 | 0 | 0.23333 | 0 | 0 | 1.2008 | 0.8 | 0 | 0 | 1 | 0 | 2 | 4.3342 |  | 0.1 | 0 | 0.9 | 0.99 | 0.5 | 0.5 | 0.6 | 0.8 | -0.6 | -0.8 |  |  | 1 | 1 | 1 | 1 | 1 | 1 | 0.5 | 0.32805 | -0.16667 | 0.50476
[38 empty] | SOC min |  | SOC max |  |  |  | MAX dis |  | MIN ch | [9 empty] | 0.5 | 0.29525 | -0.4 | -0.29524
d.1 | h.1 | [36 empty] | 0.1 | 0 | 0.9 | 0.99 | 0.5 | 0.5 | 0.6 | 0.8 | -0.6 | -0.8
d.1 | h.2 | [36 empty] | 0.1 | 0 | 0.9 | 0.99 | 0.5 | 0.5 | 0.6 | 0.8 | -0.6 | -0.8
d.1 | h.3 | [36 empty] | 0.1 | 0 | 0.9 | 0.99 | 0.5 | 0.5 | 0.6 | 0.8 | -0.6 | -0.8
d.2 | h.1 | [36 empty] | 0.1 | 0 | 0.9 | 0.99 | 0.5 | 0.5 | 0.6 | 0.8 | -0.6 | -0.8
d.2 | h.2 | [36 empty] | 0.1 | 0 | 0.9 | 0.99 | 0.5 | 0.5 | 0.6 | 0.8 | -0.6 | -0.8
d.2 | h.3 | [36 empty] | 0.1 | 0 | 0.9 | 0.99 | 0.5 | 0.5 | 0.6 | 0.8 | -0.6 | -0.8
Xmax_no_stor
d.1 | h.1 | [36 empty] | 0.3 | 9.7667 | 0 | 7.2008 | 5 | 0 | 5 | 0 | 2 | 9999
d.1 | h.2 | [36 empty] | 0.6 | 9.7667 | 0 | 7.2008 | 5 | 0 | 5 | 0 | 2 | 9999
d.1 | h.3 | [36 empty] | 0.3 | 9.7667 | 0 | 7.2008 | 5 | 0 | 5 | 0 | 2 | 9999
d.2 | h.1 | [36 empty] | 0.6 | 9.7667 | 0 | 7.2008 | 5 | 0 | 5 | 0 | 2 | 9999
d.2 | h.2 | [36 empty] | 0.9 | 9.7667 | 0 | 7.2008 | 5 | 0 | 5 | 0 | 2 | 9999
d.2 | h.3 | [36 empty] | 0.6 | 9.7667 | 0 | 7.2008 | 5 | 0 | 5 | 0 | 2 | 9999
[23 empty] | a.1: C_oper_tot |  | X_agg (no_stor)
d.1 | h.1 | [21 empty] | 0 | 0.94333 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.4235 |  | 0.3 | 9.4333 | 0 | 6.5954 | 5 | 0 | 0 | 0 | 0.5 | 8.0782 | 0.2667 | 0.405
d.1 | h.2 | [21 empty] | 0 | 0.79999 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.2497 |  | 0.6 | 7.9999 | 0 | 5.3992 | 3 | 0 | 0 | 0 | 1 | 7.4991 | -0.6 | -0.8
d.1 | h.3 | [21 empty] | 0 | 0.97667 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.3003 |  | 0.3 | 9.7667 | 0 | 7.2008 | 5 | 0 | 0 | 0 | 2 | 11.0009 | -0.0667 | 0.8
d.2 | h.1 | [21 empty] | 0 | 0.97667 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.82473 |  | 0.6 | 9.7667 | 0 | 1.7992 | 0 | 0 | 1 | 0 | 0.5 | 2.7491 | 0.23333 | -0.8
d.2 | h.2 | [21 empty] | 0 | 0.97667 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.81988 |  | 0.9 | 9.7667 | 0 | 1.1096 | 0 | 0 | 5 | 0 | 1 | 2.7329 | 0.33334 | -0.10976
d.2 | h.3 | [21 empty] | 0 | 0.97667 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.3003 |  | 0.6 | 9.7667 | 0 | 1.2008 | 0 | 0 | 1 | 0 | 2 | 4.3342 | 0.23333 | 0.8
cap_new
[38 empty] | 0 | 3.7667 | 0 | 7.2008 | 5 | 0 | 5 | 0 | 2 | 0 | 0 | 0
Tot capacity
[38 empty] | 3 | 9.7667 | 0 | 7.2008 | 5 | 0 | 5 | 0 | 2 | 9999 | 1 | 1
Export constraint
EE export

## pyesm_output
time_day | [49 empty] | d.1 | d.1 | d.1 | d.2 | d.2 | d.2 |  |  |  | d.1 | d.1 | d.1 | d.2 | d.2 | d.2 | d.1 | d.1 | d.1 | d.2 | d.2 | d.2 |  | d.1 | d.1 | d.1 | d.2 | d.2 | d.2
| time_hour | [48 empty] | h.1 | h.2 | h.3 | h.1 | h.2 | h.3 |  |  |  | h.1 | h.2 | h.3 | h.1 | h.2 | h.3 | h.1 | h.2 | h.3 | h.1 | h.2 | h.3 |  | h.1 | h.2 | h.3 | h.1 | h.2 | h.3
needs
|  |  | flows |  |  |  |  | f.1 | f.2 | f.3 | f.4 | f.6 | f.7 | f.8 | f.9 | f.10 | f.11 | f.12 | f.13 | f.14 | f.15 | [16 empty] | non-storage technologies | [9 empty] | Storage technology
|  |  |  | techs | [33 empty] | t.1 | t.2 | t.3 | t.4 | t.6 | t.7 | t.8 | t.9 | t.10 | t.11 | t.12 | t.13
[5 empty] | activ | [17 empty] | a.1 | a.2 | a.3 | a.4 | a.5 | a.6 | a.7 | a.8 | a.10 | a.11 | a.12 | a.13 | a.14 | a.15
[6 empty] | name |  | EE PV | EE import National Grid | EE export National Grid | EE storage charge | HW HP | Cooling HP | HW Gas boiler | HW storage | Radiator heating | Floor heating | Cooling AC | Induction cook | Gas cook | Natural Gas supply |  | PV | National Grid import | National Grid export | Battery charge | HP heating | HP cooling | Gas boiler | HW storage charge | Radiators | Floor heaters | Air conditioning unit | Induction stove | Gas stove | Natural Gas supply grid |  | PV | National Grid | HP | Gas boiler | Radiators | Floor heaters | Air conditioning unit | Induction stove | Gas stove | Natural Gas supply grid | Battery | HW storage
[7 empty] | unit | kWh | kWh | kWh | kWh | kWh | kWh | kWh | kWh | kWh | kWh | kWh | kWh | kWh | kWh |  | kWh | kWh | kWh | kWh | kWh | kWh | kWh | kWh | kWh | kWh | kWh | kWh | kWh | kWh |  | kWh | kWh | kWh | kWh | kWh | kWh | kWh | kWh | kWh | kWh
[8 empty] | I_nf | [41 empty] | Y | [5 empty] | Thermal Insulation | TI |  | Q_agg=Q*Iff' | [5 empty] | Q_agg-uX'-Y-curtail = 0 | [6 empty] | Curtailment | bar: a.1
|  | n.1 |  |  |  | EE | kWh | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0.0001 | 0.5 | 0.5 | 0 | 0 | 0 | 0 | 0.6 | 1.2 | 0 | 0 | [13 empty] | 10 | 8 | 10 | 10 | 8 | 10 | 0 | 1 |  | 10 | 8 | 10 | 10.5997 | 11 | 10.6 | 6.7e-06 | 3.33e-05 | 0 | -0.00033 | -3.4e-08 | -3.3e-08 |  | 0 | 0 | 0 | 0 | 0 | 0
|  | n.2 |  |  |  | Hot water | kWh | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.001 | 1.2 | 1.1 | 0 | 0 | 0 | 0 | [13 empty] | 1 | 1 | 2 | 1 | 1 | 2 | 0 | 1 |  | 7.0004 | 4.5992 | 8.0008 | 0.9992 | 1 | 1.999 | 8.8818e-16 | 8.8818e-16 | 0 | -1.1102e-16 | -0.000723 | -0.000967 |  | 0 | 0 | 0 | 0 | 0 | 0
|  | n.3 |  |  |  | Cold | kWh | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [13 empty] | 0 | 0 | 0 | 1 | 5 | 1 | 0.05 | 1 |  | 0 | 0 | 0 | 1 | 5 | 1 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0
|  | n.4 |  |  |  | Heat | kWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [13 empty] | 5 | 3 | 5 | 0 | 0 | 0 | -0.1 | 1 |  | 5 | 3 | 5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0
|  | n.5 |  |  |  | Cooking | kWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [13 empty] | 0.5 | 1 | 2 | 0.5 | 1 | 2 | 0 | 1 |  | 0.5 | 1 | 2 | 0.5 | 1 | 2 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0
|  | n.6 |  |  |  | Natural Gas | kWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 |  | 0 | 0 | 0 | 0 | 0 | 0 | 1.1111 | 0 | 0 | 0 | 0 | 0 | 1.5 | 0 | [13 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 |  | 8.0782 | 7.4991 | 11.0009 | 2.7491 | 1.807 | 5.259 | 2.2222e-08 | -1.1111e-08 | 1.1111e-07 | -1.1111e-08 | -0.00077778 | 0.0012222 |  | 0 | 0 | 0 | 0 | 0 | 0
[8 empty] | d | [29 empty] | I_at | [11 empty] | EE constraint | HW constraint |  |  |  |  | Install TI | [8 empty] | X'-dQ' = 0 | [6 empty] | (Xmax-X_agg_no_stor) ' > 0
[5 empty] | a.1 | PV | kWh | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [16 empty] | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 |  |  |  |  | 0 |  |  | opex | capex | min(cost) |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 5.5511e-17 | 1.1102e-16 | 5.5511e-17 | 1.1102e-16 | -1.1102e-16 | 1.1102e-16
[5 empty] | a.2 | National Grid import | kWh | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [16 empty] | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  |  | TI inv cost |  |  | 16.568 | 7816.8293 | 7833.3973 |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 |  | -0.0003067 | 2.0337 | 0.066693 | 0 | 0 | 0
[5 empty] | a.3 | National Grid export | kWh | 0 | 0 | -1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [16 empty] | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1 | 0 |  |  |  |  | 10000 | [8 empty] | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0
[5 empty] | a.4 | Battery charge | kWh | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [16 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | [13 empty] | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.60539 | 1.8016 | 0 | 5.4016 | 6.9238 | 5.1688
[5 empty] | a.5 | HP heating | kWh | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [16 empty] | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | [13 empty] | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 2 | 0 | 5 | 5 | 5
[5 empty] | a.6 | HP cooling | kWh | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [16 empty] | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [13 empty] | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0
[5 empty] | a.7 | Gas boiler | kWh | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [16 empty] | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | [13 empty] | 0 | 0 | 0 | 0 | 0 | 0 |  | 5 | 5 | 5 | 4 | 0 | 4
[5 empty] | a.8 | HW storage charge | kWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | [16 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | [13 empty] | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0
[5 empty] | a.10 | Radiators | kWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | [16 empty] | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [13 empty] | 0 | 0 | 0 | 0 | 0 | 0 |  | 1.5 | 1 | 0 | 1.5 | 1 | 0
[5 empty] | a.11 | Floor heaters | kWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | [16 empty] | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [13 empty] | 0 | 0 | 0 | 0 | 0 | 0 |  | 9990.9218 | 9991.5009 | 9987.9991 | 9996.2509 | 9997.193 | 9993.741
[5 empty] | a.12 | Air conditioning unit | kWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | [16 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  |  | X_storage | [8 empty] | 0 | 0 | 0 | 0 | 0 | 0
[5 empty] | a.13 | Induction stove | kWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | [16 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  |  | -0.067 | 0.405 | [7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[5 empty] | a.14 | Gas stove | kWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | [16 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 |  |  |  |  | -0.333 | -0.8 | [7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[5 empty] | a.15 | Natural Gas supply grid | kWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | [16 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 |  |  |  |  | 0 | 0.8 | [7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[56 empty] | 0.233 | -0.8
[56 empty] | 0.33334 | 0.723 | [14 empty] | Activity contraints>0
[6 empty] | Operative costs | €/kWh | [14 empty] | c_o | 0 | 0.1 | -0.05 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.3 | [19 empty] | 0.23333 | -0.033 | [13 empty] | EE export and storage | 0.233 | 0.267 | 0.3 | 0.833 | 1.2333 | 0.83333
[6 empty] | Capital costs | €/kW | [29 empty] | c_c | 1000 | 100 | 2000 | 200 | 500 | 1000 | 500 | 1000 | 500 | 0 | 2000 | 200 | [21 empty] | HW storage | 7.0004 | 4.5992 | 8.0008 | 0.9992 | 1 | 1.999
[6 empty] | initial capacity | kW | [29 empty] | C_i | 3 | 6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 9999 | 1 | 1
[38 empty] | Capacity factor | [9 empty] | SOC |  | Thh | [5 empty] | Start cooling | HW | Cooling factor | [13 empty] | max-SOC>0
d.1 | h.1 | [36 empty] | 0.1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0.567 | 0.095 | 1 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0.9 | [13 empty] | 0.333 | 0 | 0 | 0.233 | 0.56634 | 0.79967
d.1 | h.2 | [36 empty] | 0.2 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0.9 | 0.845 | 1 | 1 | 0 | 0 | 0 | 0 | 1 | 0.9 | [14 empty] | 0.895 | 0.145 | 0.99 | 0.2305 | 0.98995 | 0.98975
d.1 | h.3 | [36 empty] | 0.1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0.9 | 0 | 1 | 1 | 1 | 0 | 0 | 0 | 1 | 0.81 | [14 empty] | SOC-min>0
d.2 | h.1 | [36 empty] | 0.2 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0.667 | 0.7595 | 1 | 1 | 1 | 1 | 0 | 0 | 1 | 0.729 | [14 empty] | 0.467 | 0.8 | 0.8 | 0.567 | 0.23366 | 0.00033
d.2 | h.2 | [36 empty] | 0.3 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0.33366 | 5e-05 | 1 | 1 | 1 | 1 | 1 | 0 | 1 | 0.6561 | [14 empty] | 0.095 | 0.845 | 0 | 0.7595 | 5e-05 | 0.000245
d.2 | h.3 | [36 empty] | 0.2 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0.10033 | 0.000245 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0.59049 | [14 empty] | MAX_dis-X_ch>0
[8 empty] | Q | [29 empty] | soc min | HW | soc max | HW | soc start | HW | max dis | HW | min ch | HW |  |  | Thh cooling | [21 empty] | 0.667 | 0.933 | 0.6 | 0.367 | 0.26666 | 0.36667 | bar: a.1
d.1 | h.1 |  |  |  |  | Production |  | 0.3 | 9.767 | 0 | -0.067 | 0 | 0 | 6.5954 | 0.405 | 5 | 0 | 0 | 0 | 0.5 | 8.0782 |  | 0.3 | 9.767 | 0 | -0.067 | 0 | 0 | 6.5954 | 0.405 | 5 | 0 | 0 | 0 | 0.5 | 8.0782 |  | 0.1 | 0 | 0.9 | 0.99 | 0.5 | 0.5 | 0.6 | 0.8 | -0.6 | -0.8 |  |  | 1 | 0 | 0 | 0 | 0 | 0 | [16 empty] | 0.395 | 1.6 | 0 | 1.6 | 0.077 | 0.833
d.1 | h.2 | [6 empty] | 0.6 | 7.733 | 0 | -0.333 | 0 | 0 | 5.3992 | -0.8 | 3 | 0 | 0 | 0 | 1 | 7.4991 |  | 0.6 | 7.733 | 0 | -0.333 | 0 | 0 | 5.3992 | -0.8 | 3 | 0 | 0 | 0 | 1 | 7.4991 |  | 0.1 | 0 | 0.9 | 0.99 | 0.5 | 0.5 | 0.6 | 0.8 | -0.6 | -0.8 |  |  | 1 | 1 | 0 | 0 | 0 | 0 | [16 empty] | X_ch-MIN_ch>0
d.1 | h.3 | [6 empty] | 0.3 | 9.7 | 0 | 0 | 0 | 0 | 7.2008 | 0.8 | 5 | 0 | 0 | 0 | 2 | 11.0009 |  | 0.3 | 9.7 | 0 | 0 | 0 | 0 | 7.2008 | 0.8 | 5 | 0 | 0 | 0 | 2 | 11.0009 |  | 0.1 | 0 | 0.9 | 0.99 | 0.5 | 0.5 | 0.6 | 0.8 | -0.6 | -0.8 |  |  | 1 | 1 | 1 | 0 | 0 | 0 | [16 empty] | 0.533 | 0.267 | 0.6 | 0.833 | 0.93334 | 0.83333
d.2 | h.1 | [6 empty] | 0.6 | 9.7667 | 0 | 0.233 | 0 | 0 | 1.7992 | -0.8 | 0 | 0 | 1 | 0 | 0.5 | 2.7491 |  | 0.6 | 9.7667 | 0 | 0.233 | 0 | 0 | 1.7992 | -0.8 | 0 | 0 | 1 | 0 | 0.5 | 2.7491 |  | 0.1 | 0 | 0.9 | 0.99 | 0.5 | 0.5 | 0.6 | 0.8 | -0.6 | -0.8 |  |  | 1 | 1 | 1 | 1 | 0 | 0 | [16 empty] | 1.205 | 0 | 1.6 | 0 | 1.523 | 0.767
d.2 | h.2 | [6 empty] | 0.9 | 9.7667 | 0 | 0.33334 | 0 | 0 | 0.277 | 0.723 | 0 | 0 | 5 | 0 | 1 | 1.807 |  | 0.9 | 9.7667 | 0 | 0.33334 | 0 | 0 | 0.277 | 0.723 | 0 | 0 | 5 | 0 | 1 | 1.807 |  | 0.1 | 0 | 0.9 | 0.99 | 0.5 | 0.5 | 0.6 | 0.8 | -0.6 | -0.8 |  |  | 1 | 1 | 1 | 1 | 1 | 0
d.2 | h.3 | [6 empty] | 0.6 | 9.7667 | 0 | 0.23333 | 0 | 0 | 2.032 | -0.033 | 0 | 0 | 1 | 0 | 2 | 5.259 |  | 0.6 | 9.7667 | 0 | 0.23333 | 0 | 0 | 2.032 | -0.033 | 0 | 0 | 1 | 0 | 2 | 5.259 |  | 0.1 | 0 | 0.9 | 0.99 | 0.5 | 0.5 | 0.6 | 0.8 | -0.6 | -0.8 |  |  | 1 | 1 | 1 | 1 | 1 | 1
[38 empty] | SOC min |  | SOC max |  |  |  | MAX dis |  | MIN ch
d.1 | h.1 | [36 empty] | 0.1 | 0 | 0.9 | 0.99 | 0.5 | 0.5 | 0.6 | 0.8 | -0.6 | -0.8
d.1 | h.2 | [36 empty] | 0.1 | 0 | 0.9 | 0.99 | 0.5 | 0.5 | 0.6 | 0.8 | -0.6 | -0.8
d.1 | h.3 | [36 empty] | 0.1 | 0 | 0.9 | 0.99 | 0.5 | 0.5 | 0.6 | 0.8 | -0.6 | -0.8
d.2 | h.1 | [36 empty] | 0.1 | 0 | 0.9 | 0.99 | 0.5 | 0.5 | 0.6 | 0.8 | -0.6 | -0.8
d.2 | h.2 | [36 empty] | 0.1 | 0 | 0.9 | 0.99 | 0.5 | 0.5 | 0.6 | 0.8 | -0.6 | -0.8
d.2 | h.3 | [36 empty] | 0.1 | 0 | 0.9 | 0.99 | 0.5 | 0.5 | 0.6 | 0.8 | -0.6 | -0.8
Xmax_no_stor
d.1 | h.1 | [36 empty] | 0.3 | 9.7667 | 0 | 7.2008 | 5 | 0 | 5 | 0 | 2 | 9999
d.1 | h.2 | [36 empty] | 0.6 | 9.7667 | 0 | 7.2008 | 5 | 0 | 5 | 0 | 2 | 9999
d.1 | h.3 | [36 empty] | 0.3 | 9.7667 | 0 | 7.2008 | 5 | 0 | 5 | 0 | 2 | 9999
d.2 | h.1 | [36 empty] | 0.6 | 9.7667 | 0 | 7.2008 | 5 | 0 | 5 | 0 | 2 | 9999
d.2 | h.2 | [36 empty] | 0.9 | 9.7667 | 0 | 7.2008 | 5 | 0 | 5 | 0 | 2 | 9999
d.2 | h.3 | [36 empty] | 0.6 | 9.7667 | 0 | 7.2008 | 5 | 0 | 5 | 0 | 2 | 9999
[23 empty] | a.1: C_oper_tot |  | X_agg (no_stor)
d.1 | h.1 | [21 empty] | 0 | 0.9767 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.4235 |  | 0.3 | 9.767 | 0 | 6.5954 | 5 | 0 | 0 | 0 | 0.5 | 8.0782 | -0.067 | 0.405
d.1 | h.2 | [21 empty] | 0 | 0.7733 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.2497 |  | 0.6 | 7.733 | 0 | 5.3992 | 3 | 0 | 0 | 0 | 1 | 7.4991 | -0.333 | -0.8
d.1 | h.3 | [21 empty] | 0 | 0.97 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.3003 |  | 0.3 | 9.7 | 0 | 7.2008 | 5 | 0 | 0 | 0 | 2 | 11.0009 | 0 | 0.8
d.2 | h.1 | [21 empty] | 0 | 0.97667 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.82473 |  | 0.6 | 9.7667 | 0 | 1.7992 | 0 | 0 | 1 | 0 | 0.5 | 2.7491 | 0.233 | -0.8
d.2 | h.2 | [21 empty] | 0 | 0.97667 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.5421 |  | 0.9 | 9.7667 | 0 | 0.277 | 0 | 0 | 5 | 0 | 1 | 1.807 | 0.33334 | 0.723
d.2 | h.3 | [21 empty] | 0 | 0.97667 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.5777 |  | 0.6 | 9.7667 | 0 | 2.032 | 0 | 0 | 1 | 0 | 2 | 5.259 | 0.23333 | -0.033
cap_new
[38 empty] | 0 | 3.7667 | 0 | 7.2008 | 5 | 0 | 5 | 0 | 2 | 0 | 0 | 0
Tot capacity
[38 empty] | 3 | 9.7667 | 0 | 7.2008 | 5 | 0 | 5 | 0 | 2 | 9999 | 1 | 1
Export constraint
EE export