## new
time_day | [21 empty] | d.1 | d.1 | d.1 | d.2 | d.2 | d.2 | [29 empty] | d.1 | d.1 | d.1 | d.2 | d.2 | d.2 |  |  |  |  | d.1 | d.1 | d.1 | d.2 | d.2 | d.2 | d.1 | d.1 | d.1 | d.2 | d.2 | d.2 |  | d.1 | d.1 | d.1 | d.2 | d.2 | d.2
| time_hour | [20 empty] | h.1 | h.2 | h.3 | h.1 | h.2 | h.3 | [29 empty] | h.1 | h.2 | h.3 | h.1 | h.2 | h.3 |  |  |  |  | h.1 | h.2 | h.3 | h.1 | h.2 | h.3 | h.1 | h.2 | h.3 | h.1 | h.2 | h.3 |  | h.1 | h.2 | h.3 | h.1 | h.2 | h.3
needs
|  |  | flows |  |  |  |  | f.1 | f.2 | f.3 | f.4 | f.6 | f.7 | f.8 | f.9 | f.10 | f.11 | f.12 | f.13 | f.14 | f.15 | [23 empty] | non-storage technologies | [9 empty] | Storage technology
|  |  |  | techs | [40 empty] | t.1 | t.2 | t.3a | t.4 | t.6 | t.7 | t.8 | t.9 | t.10 | t.11 | t.12 | t.13
[5 empty] | activ | [23 empty] | a.1 | a.2 | a.3 | a.4 | a.5a | a.5a | a.6 | a.7 | a.8 | a.10 | a.11 | a.12 | a.13 | a.14 | a.15
[6 empty] | name |  | EE PV | EE import National Grid | EE export National Grid | EE storage charge | HW HP | Cooling HP | HW Gas boiler | HW storage | Radiator heating | Floor heating | Cooling AC | Induction cook | Gas cook | Natural Gas supply | [7 empty] | PV | National Grid import | National Grid export | Battery charge | HP heating winter | HP heating summer | HP cooling | Gas boiler | HW storage charge | Radiators | Floor heaters | Air conditioning unit | Induction stove | Gas stove | Natural Gas supply grid |  | PV | National Grid | HP | Gas boiler | Radiators | Floor heaters | Air conditioning unit | Induction stove | Gas stove | Natural Gas supply grid | Battery | HW storage
[7 empty] | unit | kWh | kWh | kWh | kWh | kWh | kWh | kWh | kWh | kWh | kWh | kWh | kWh | kWh | kWh | [7 empty] | kWh | kWh | kWh | kWh | kWh | kWh | kWh | kWh | kWh | kWh | kWh | kWh | kWh | kWh | kWh |  | kWh | kWh | kWh | kWh | kWh | kWh | kWh | kWh | kWh | kWh
[8 empty] | d | [13 empty] | Q | [34 empty] | Y | [6 empty] | Thermal Insulation | TI |  | Q-uX'-Y-curtail = 0 | [5 empty] | d X_f -Q = 0 | [6 empty] | Curtailment | bar: a.1
|  | n.1 |  |  |  | EE | kWh | 1 | 1 | -1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 13.1 | 10.3 | 13.5 | 10.9 | 10.9 | 11.3 |  | 0 | 0 | 0 | 0.0001 | 0.5 | 0.4 | 0.5 | 0 | 0 | 0 | 0 | 0.6 | 1.2 | 0 | 0 | [13 empty] | 10 | 8 | 10 | 10 | 8 | 10 |  | 0 | 1 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0
|  | n.2 |  |  |  | Hot water | kWh | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 7 | 4.6 | 8 | 1 | 1 | 2 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.001 | 1.2 | 1.1 | 0 | 0 | 0 | 0 | [13 empty] | 1 | 1 | 2 | 1 | 1 | 2 |  | 0 | 1 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0
|  | n.3 |  |  |  | Cold | kWh | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 5 | 1 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [13 empty] | 0 | 0 | 0 | 1 | 5 | 1 |  | 0.05 | 1 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0
|  | n.4 |  |  |  | Heat | kWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | 5 | 3 | 5 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [13 empty] | 5 | 3 | 5 | 0 | 0 | 0 |  | -0.1 | 1 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0
|  | n.5 |  |  |  | Cooking | kWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0.5 | 1 | 2 | 0.5 | 1 | 2 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [13 empty] | 0.5 | 1 | 2 | 0.5 | 1 | 2 |  | 0 | 1 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0
|  | n.6 |  |  |  | Natural Gas | kWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1.6388 | 1.5 | 4.1111 | 0.75 | 1.5 | 3 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1111 | 0 | 0 | 0 | 0 | 0 | 1.5 | 0 | [13 empty] | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 1 |  | 0 | 0 | -1.1111e-08 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0
[8 empty] | I_af | [36 empty] | I_at | [11 empty] | EE constraint | HW constraint | [8 empty] | (Xmax-X_agg_no_stor) ' > 0
[5 empty] | a.1 | PV | kWh | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | opex | capex | min(cost) | [20 empty] | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | PV |  |  |  | Insulation y/n | 0 |  | PV | 5.5511e-17 | 1.1102e-16 | 5.5511e-17 | 1.1102e-16 | -1.1102e-16 | 1.1102e-16
[5 empty] | a.2 | National Grid import | kWh | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 10.38 | 4380.004 | 4390.384 | [20 empty] | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | National Grid import |  |  |  | TI cost | 10000 |  | National Grid | 0 | 3.1 | 0 | 2.5 | 2.8 | 2.1
[5 empty] | a.3 | National Grid export | kWh | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [23 empty] | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1 | 0 | National Grid export | [6 empty] | HP winter | 0.79992 | 2.4 | 0 | 5 | 1 | 4
[5 empty] | a.4 | Battery charge | kWh | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [23 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | Battery charge | [6 empty] | Gas boiler | 0.20008 | 1 | 0 | 1 | 1 | 1
[5 empty] | a.5a | HP heating winter | kWh | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [23 empty] | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | HP heating winter | [6 empty] | Thermal insulation | 0 | 2 | 0 | 5 | 5 | 5
[5 empty] | a.5B | HP heating summer | kWh | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [23 empty] | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | HP heating summer | [7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[5 empty] | a.6 | HP cooling | kWh | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [23 empty] | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | HP cooling | [6 empty] | Radiators | 0 | 0 | 0 | 0 | 0 | 0
[5 empty] | a.7 | Gas boiler | kWh | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [23 empty] | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | Gas boiler | [6 empty] | Floor heaters | 0 | 0 | 0 | 0 | 0 | 0
[5 empty] | a.8 | HW storage charge | kWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | [23 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | HW storage charge | [6 empty] | Air conditioning unit | 1.5 | 1 | 0 | 1.5 | 1 | 0
[5 empty] | a.10 | Radiators | kWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | [23 empty] | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Radiators | [6 empty] | Gas stove | 9997.3612 | 9997.5 | 9994.8889 | 9998.25 | 9997.5 | 9996 | [6 empty] | HP winter | 0.79992 | 2.4 | 0 | 0 | 0 | 0
[5 empty] | a.11 | Floor heaters | kWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | [23 empty] | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Floor heaters | [6 empty] | Natural Gas supply grid | [12 empty] | HP summer | 0 | 0 | 0 | 6 | 6 | 5
[5 empty] | a.12 | Air conditioning unit | kWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | [23 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Air conditioning unit | X_storage
[5 empty] | a.13 | Induction stove | kWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | [23 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | Induction stove | 0 | 0 | [18 empty] | max-SOC>0
[5 empty] | a.14 | Gas stove | kWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | [23 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | Gas stove | 0 | 0 | [18 empty] | 0.4 | 0.4 | 0.8 | 0.8 | 0.8 | 0.8
[5 empty] | a.15 | Natural Gas supply grid | kWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | [23 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | Natural Gas supply grid | 0.4 | 0 | [18 empty] | 0.99 | 0.99 | 0.99 | 0.99 | 0.99 | 0.99
[60 empty] | 0 | 0 | [18 empty] | SOC-min>0
[60 empty] | 0 | 0 | [18 empty] | 0.4 | 0.4 | -2.7756e-17 | -2.7756e-17 | -2.7756e-17 | -2.7756e-17
[6 empty] | Operative costs | €/kWh | [20 empty] | c_o | 0 | 0.1 | -0.05 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.3 | [16 empty] | 0 | 0 | [18 empty] | 0 | 0 | 0 | 0 | 0 | 0
[6 empty] | Capital costs | €/kW | [36 empty] | c_c | 1000 | 100 | 2000 | 200 | 500 | 1000 | 500 | 1000 | 500 | 0 | 2000 | 200 | [23 empty] | MAX_dis-X_ch>0
[6 empty] | initial capacity | kW | [36 empty] | C_i | 3 | 6 | 7 | 0 | 0 | 0 | 0 | 0 | 0 | 9999 | 1 | 1 | [23 empty] | 0.6 | 0.6 | 0.2 | 0.6 | 0.6 | 0.6
[45 empty] | Capacity factor | [9 empty] | SOC |  | Thh | [22 empty] | 0.8 | 0.8 | 0.8 | 0.8 | 0.8 | 0.8
d.1 | h.1 | [43 empty] | 0.1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0.5 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | [17 empty] | X_ch-MIN_ch>0
d.1 | h.2 | [43 empty] | 0.2 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0.5 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | [17 empty] | 0.6 | 0.6 | 1 | 0.6 | 0.6 | 0.6
d.1 | h.3 | [43 empty] | 0.1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0.1 | 0 | 1 | 1 | 1 | 0 | 0 | 0 | [17 empty] | 0.8 | 0.8 | 0.8 | 0.8 | 0.8 | 0.8
d.2 | h.1 | [43 empty] | 0.2 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0.1 | 0 | 1 | 1 | 1 | 1 | 0 | 0 | [17 empty] | Activity contraints>0
d.2 | h.2 | [43 empty] | 0.3 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0.1 | 0 | 1 | 1 | 1 | 1 | 1 | 0 | [16 empty] | EE export and storage | 0.3 | 0.6 | 0.7 | 0.6 | 0.9 | 0.6
d.2 | h.3 | [43 empty] | 0.2 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0.1 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | [16 empty] | HW storage | 7 | 4.6 | 8 | 1 | 1 | 2
[8 empty] | X_flows | [20 empty] | a.1: X_act |  | soc min | HW | soc max | HW | soc start | HW | max dis | HW | min ch | HW |  |  | Thh cooling
d.1 | h.1 | [6 empty] | 0.3 | 12.8 | 0 | 0 | 6.2001 | 0 | 0.79992 | 0 | 5 | 0 | 0 | 0 | 0.5 | 1.6388 | [7 empty] | 0.3 | 12.8 | 0 | 0 | 6.2001 | 0 | 0 | 0.79992 | 0 | 5 | 0 | 0 | 0 | 0.5 | 1.6388 |  | 0.1 | 0 | 0.9 | 0.99 | 0.5 | 0 | 0.6 | 0.8 | -0.6 | -0.8 |  |  | 1 | 0 | 0 | 0 | 0 | 0
d.1 | h.2 | [6 empty] | 0.6 | 9.7 | 0 | 0 | 4.6 | 0 | 0 | 0 | 3 | 0 | 0 | 0 | 1 | 1.5 | [7 empty] | 0.6 | 9.7 | 0 | 0 | 4.6 | 0 | 0 | 0 | 0 | 3 | 0 | 0 | 0 | 1 | 1.5 |  | 0.1 | 0 | 0.9 | 0.99 | 0.5 | 0 | 0.6 | 0.8 | -0.6 | -0.8 |  |  | 1 | 1 | 0 | 0 | 0 | 0
d.1 | h.3 | [6 empty] | 0.3 | 12.8 | 0 | 0.4 | 7 | 0 | 1 | 0 | 5 | 0 | 0 | 0 | 2 | 4.1111 | [7 empty] | 0.3 | 12.8 | 0 | 0.4 | 7 | 0 | 0 | 1 | 0 | 5 | 0 | 0 | 0 | 2 | 4.1111 |  | 0.1 | 0 | 0.9 | 0.99 | 0.5 | 0 | 0.6 | 0.8 | -0.6 | -0.8 |  |  | 1 | 1 | 1 | 0 | 0 | 0
d.2 | h.1 | [6 empty] | 0.6 | 10.3 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0.5 | 0.75 | [7 empty] | 0.6 | 10.3 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0.5 | 0.75 |  | 0.1 | 0 | 0.9 | 0.99 | 0.5 | 0 | 0.6 | 0.8 | -0.6 | -0.8 |  |  | 1 | 1 | 1 | 1 | 0 | 0
d.2 | h.2 | [6 empty] | 0.9 | 10 | 0 | 0 | 1 | 5 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1.5 | [7 empty] | 0.9 | 10 | 0 | 0 | 0 | 1 | 5 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1.5 |  | 0.1 | 0 | 0.9 | 0.99 | 0.5 | 0 | 0.6 | 0.8 | -0.6 | -0.8 |  |  | 1 | 1 | 1 | 1 | 1 | 0
d.2 | h.3 | [6 empty] | 0.6 | 10.7 | 0 | 0 | 2 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 3 | [7 empty] | 0.6 | 10.7 | 0 | 0 | 0 | 2 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 3 |  | 0.1 | 0 | 0.9 | 0.99 | 0.5 | 0 | 0.6 | 0.8 | -0.6 | -0.8 |  |  | 1 | 1 | 1 | 1 | 1 | 1
[45 empty] | SOC min |  | SOC max |  | soc start |  | MAX dis |  | MIN ch
d.1 | h.1 | [27 empty] | a.5a: 1; a.5a: 0 |  | 0.1 | 0 | 0.9 | 0.99 | 0.5 | 0 | 0.6 | 0.8 | -0.6 | -0.8 |  |  | Start cooling | HW | Cooling factor
d.1 | h.2 | [27 empty] | a.5a: 1; a.5a: 0 |  | 0.1 | 0 | 0.9 | 0.99 | 0.5 | 0 | 0.6 | 0.8 | -0.6 | -0.8 |  |  | 1 | 1 | 0.9
d.1 | h.3 | [27 empty] | a.5a: 1; a.5a: 0 |  | 0.1 | 0 | 0.9 | 0.99 | 0.5 | 0 | 0.6 | 0.8 | -0.6 | -0.8 |  |  | 1 | 0.9
d.2 | h.1 | [27 empty] | a.5a: 0; a.5a: 1 |  | 0.1 | 0 | 0.9 | 0.99 | 0.5 | 0 | 0.6 | 0.8 | -0.6 | -0.8 |  |  | 1 | 0.81
d.2 | h.2 | [27 empty] | a.5a: 0; a.5a: 1 |  | 0.1 | 0 | 0.9 | 0.99 | 0.5 | 0 | 0.6 | 0.8 | -0.6 | -0.8 |  |  | 1 | 0.729
d.2 | h.3 | [27 empty] | a.5a: 0; a.5a: 1 |  | 0.1 | 0 | 0.9 | 0.99 | 0.5 | 0 | 0.6 | 0.8 | -0.6 | -0.8 |  |  | 1 | 0.6561
[29 empty] | a.1: Activity seasonal limit |  | Xmax_no_stor | [11 empty] | 1 | 0.59049
d.1 | h.1 | [27 empty] | a.5a: 7; a.5a: 0 |  | 0.3 | 12.8 | 7 | 1 | 5 | 0 | 0 | 0 | 2 | 9999 |  |  | CHECK FOR ERRORS
d.1 | h.2 | [27 empty] | a.5a: 7; a.5a: 0 |  | 0.6 | 12.8 | 7 | 1 | 5 | 0 | 0 | 0 | 2 | 9999 |  |  | SOC_start_cool |  | SOC_second_part
d.1 | h.3 | [27 empty] | a.5a: 7; a.5a: 0 |  | 0.3 | 12.8 | 7 | 1 | 5 | 0 | 0 | 0 | 2 | 9999 |  |  | 0.5 | 0 | 0 | 0
d.2 | h.1 | [27 empty] | a.5a: 0; a.5a: 7 |  | 0.6 | 12.8 | 7 | 1 | 5 | 0 | 0 | 0 | 2 | 9999 |  |  | 0.5 | 0 | 0 | 0
d.2 | h.2 | [27 empty] | a.5a: 0; a.5a: 7 |  | 0.9 | 12.8 | 7 | 1 | 5 | 0 | 0 | 0 | 2 | 9999 |  |  | 0.5 | 0 | -0.4 | 0
d.2 | h.3 | [27 empty] | a.5a: 0; a.5a: 7 |  | 0.6 | 12.8 | 7 | 1 | 5 | 0 | 0 | 0 | 2 | 9999 |  |  | 0.5 | 0 | -0.4 | 0
[29 empty] | a.1: C_oper_tot |  | X_tech (no_stor) | [11 empty] | 0.5 | 0 | -0.4 | 0
d.1 | h.1 | [27 empty] | 0 | 1.28 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.49164 |  | 0.3 | 12.8 | 6.2001 | 0.79992 | 5 | 0 | 0 | 0 | 0.5 | 1.6388 | 0 | 0 | 0.5 | 0 | -0.4 | 0
d.1 | h.2 | [27 empty] | 0 | 0.97 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.45 |  | 0.6 | 9.7 | 4.6 | 0 | 3 | 0 | 0 | 0 | 1 | 1.5 | 0 | 0
d.1 | h.3 | [27 empty] | 0 | 1.28 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.2333 |  | 0.3 | 12.8 | 7 | 1 | 5 | 0 | 0 | 0 | 2 | 4.1111 | 0.4 | 0
d.2 | h.1 | [27 empty] | 0 | 1.03 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.225 |  | 0.6 | 10.3 | 2 | 0 | 0 | 0 | 0 | 0 | 0.5 | 0.75 | 0 | 0
d.2 | h.2 | [27 empty] | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.45 |  | 0.9 | 10 | 6 | 0 | 0 | 0 | 0 | 0 | 1 | 1.5 | 0 | 0
d.2 | h.3 | [27 empty] | 0 | 1.07 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.9 |  | 0.6 | 10.7 | 3 | 0 | 0 | 0 | 0 | 0 | 2 | 3 | 0 | 0
[29 empty] | a.1: cap_activ |  | cap_new
[29 empty] | 3 | 12.8 | 12.8 | 1 | 7 | 7 | 7 | 1 | 1 | 5 | 0 | 0 | 0 | 2 | 9999 |  | 0 | 6.8 | 0 | 1 | 5 | 0 | 0 | 0 | 2 | 0 | 0 | 0
cap_tot
[45 empty] | 3 | 12.8 | 7 | 1 | 5 | 0 | 0 | 0 | 2 | 9999 | 1 | 1